Type I Panel Recommended

TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2290 | 11/27/07 | 296292 |
| Address: |  | Tested By: |  |
| Fritts Farm FSU SW 19th St. Moore, OK 73160 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: | Type I Panel Recommended |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Home Depot Water Sample | Radio Shack Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Chloride, ppm | 46 | 31 | 250 ppm |
| Sulfate, ppm | ND | ND | 250 ppm |
| Sodium, ppm | 45 | 30 | 250 ppm |
| Chloramine | Detected | Detected | .5 ppm |
| Chlorine, ppm | Detected | Detected | Detectable |
| Alkalinity, ppm | 140 | 120 | 150 ppm |
| Total Dissolved Solids, ppm | 200 | 160 | 500 ppm |
| Hardness, ppm | 55 | 60 | 100 ppm |
| pH | 8.4 | 8.4 | 6.5 – 8.5 ppm |
| Turbidity | 0.00 | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com