TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2235 | 10/25/07 | 293276 |
| Address: |  | Tested By: |  |
| 3995 MW 107 Ave. Doral, Fl |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Winn Dixie Water Sample | CVS Pharmacy Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Chloride, ppm | 5.4 | 5.1 | 250 ppm |
| Sulfate, ppm | ND | ND | 250 ppm |
| Sodium, ppm | 65 | 55 | 250 ppm |
| Chloramine | Detected | Detected | .5 ppm |
| Chlorine, ppm | Detected | Detected | Detectable |
| Alkalinity, ppm | 55 | 60 | 150 ppm |
| Total Dissolved Solids, ppm | 185 | 180 | 500 ppm |
| Hardness, ppm | 60 | 60 | 100 ppm |
| pH | 9.1 | 9.0 | 6.5 – 8.5 ppm |
| Turbidity | 1.0 | 8.7 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com